## Door Details
DOOR DETAILS
Door Number | Hardware Set | Location | Door Type | Door Material | Fire Rating | Remark | Dimensions

## HW Spec
Hardware Table

## Bill of Materials
BILL OF MATERIALS
Product Image | Product Code | Product Description | Finish | Units | Qty | Price | Total
| 8E4583 | Automatic Swing door operator EN 2-4 Automatic swing door operators with a modular compact design (check size of door frames) and electromechanical solution for diverse single and double-leaf door applications, accommodating weights up to 100 kg and widths from 700 to 2,200 mm, configurable as push or pull versions ensuring benefits like easy installation and quiet operation within an elegant design with standard arms or slide channels, and suitable for fire and smoke doors while integrating with various safety sensors like presence sensors and safety light curtains. These systems provide flexible functionality through integrated features such as automatic, hold-open, and manual override operating modes, potentially offering connectivity options for building management systems, alongside an adjustable closing force (EN 2-4), quiet operation, and an elegant design, complemented by accessories like covers and arms. Ensuring safety in fire and emergency situations is a core aspect, and the operators require a power supply of either 230 V AC or 115 V AC with 120 Watts consumption, also providing a 24 V DC external power supply for accessories, and user interface with display, slots for upgrade cards (if any), update interface, cycle counter, adjustable parameters, connections for various accessories and safety devices, voltage-independent braking circuit offering adjustable opening and closing speeds along with axle and lintel depth variations, wind load control up to 50 Nm |  | Each | 1 | 0 | 0